## Slide 1
TCCC TIER 3
Combat Medic/Corpsman
TCCC TIER 4
Combat Paramedic/Provider
TCCC TIER 1
All Service Members
TCCC TIER 2
Combat Lifesaver
Module 20: Casualty Monitoring
COMBAT PARAMEDIC/
PROVIDER
TACTICAL COMBAT CASUALTY CARE COURSE
MODULE 20: CASUALTY MONITORING

## Slide 2: Module 20: Casualty Monitoring
TACTICAL COMBAT CASUALTY CARE (TCCC) ROLE-BASED TRAINING SPECTRUM
ROLE 1 CARE
NONMEDICAL PERSONNEL
MEDICAL PERSONNEL
YOU ARE HERE
STANDARDIZED JOINT CURRICULUM
2
Notes: This module discusses casualty monitoring Tactical Field Care (TFC) setting, emphasizing your role as a Combat Paramedic/Provider (CPP).
All Service Members and Combat Lifesaver training educates non-medical personnel about a few monitoring techniques, like assessing peripheral pulses and respiratory rates, and Combat Medic/Corpsman training adds a few other techniques; but as a CPP you will have additional knowledge and equipment that allows you to expand casualty monitoring during TFC, prolonged field care (PFC) settings and in preparation and evacuation to the next echelon of care.

## Slide 3: Module 20: Casualty Monitoring
#TCCC-CPP-PPT-20 08 AUG 23
3
9 x ENABLING LEARNING OBJECTIVES
= Terminal Learning Objectives = Cognitive ELOs = Performance ELOs
1 x TERMINAL LEARNING OBJECTIVES
#
Given a combat or noncombat scenario perform monitoring of a trauma casualty during Tactical Field Care in combat in accordance with CoTCCC Guidelines.
22
  Identify the methods and limitations of assessing level of consciousness, pulses, and respiratory rate in Tactical Field Care.
  Demonstrate assessment of end-tidal CO2 with colorimetric device on a trauma casualty in Tactical Field Care.
  Demonstrate assessment of end-tidal CO2 with digital device on a trauma casualty in Tactical Field Care.
  Demonstrate electronic vital signs monitoring in Tactical Field Care.
  Identify the indications, contraindications, and principles of foley catheterization and urinary output monitoring in Tactical Field Care.
  Demonstrate urinary catheterization using a Foley catheter on a trauma casualty in Tactical Field Care.
  Describe the indications and considerations of monitoring urinary documentation on a trauma casualty in Tactical Field Care.
Identify methods for monitoring vital sign trends in Tactical Field Care.
Identify any evidence-based medicine, best practices, casualty data, and Subject Matter Expert consensus on casualty monitoring techniques in Tactical Field Care.
22.8
22.9
Notes: There are five cognitive and four performance-enabling learning objectives in this module.
These include understanding the methods and limitations for assessing the casualty’s level of consciousness, pulses, respiratory rate, Foley catheterization and urine output monitoring, lactate monitoring, and point of care ultrasound. Techniques for monitoring trends in vital signs using both manual assessments and electronic monitoring will be reviewed. And the evidence supporting casualty monitoring will be highlighted.
Also, you will demonstrate assessments of the level of consciousness, pulses, respiratory rates, the use of pulse oximetry, electronic vital sign monitors, end-tidal CO2 measurements using colorimetric devices and digital readouts, and the insertion of Foley catheters with measurements of urinary output.

## Slide 4: CASUALTY MONITORING OVERVIEW
Module 20: Casualty Monitoring
LEVEL OF CONSCIOUSNESS
M A R C H
Airway
Hypothermia
RESPIRATIONS
M A R C H
Respiration
Circulation/Shock
Circulation/Shock
Head Injuries
Respiration
Circulation/Shock
Head Injuries
PFC / PCC
TACEVAC
Reassessment is a continuous process
PFC / PCC
PFC / PCC
PFC / PCC
PULSE OXIMETRY
M A R C H
Airway
PULSE/HEART RATE
M A R C H
Respiration
4
Notes: Casualty monitoring takes place at several points during the tactical trauma assessment and subsequent casualty care, starting with the MARCH sequence and continuing on through Prolonged Casualty Care (PCC) and/or during Tactical Evacuation Care. Information is gathered from both clinical observations and formal assessments. Monitoring should not be limited to specific steps in treatment algorithms but be part of the ongoing care for the casualty.
The casualty’s level of consciousness is important from the onset of any assessment and should be informally assessed by the casualty’s response to and participation in their treatment plan, or formally assessed if the casualty is not alert; as it can impact clinical decisions at several different stages.
The respiratory rate may help determine whether a casualty is in respiratory distress during the “R” in MARCH, potentially informing the need for treatment.
During the “C” in MARCH, circulation, the presence of pulses and the heart rate are part of the determination of shock (along with level of consciousness) and influence decisions on fluid resuscitation.
Pulse oximetry is another one of the monitoring tools that can be helpful at many stages in the casualty care process, from determining respiratory status through prolonged field care and evacuation.

## Slide 5: CASUALTY MONITORING OVERVIEW
Module 20: Casualty Monitoring
RESPIRATIONS
P A W S
PAIN
LEVEL OF CONSCIOUSNESS
A W S
PAIN
PULSE/HEART RATE
P A W S
PAIN
PULSE OXIMETRY
P A W S
PAIN
WOUNDS
WOUNDS
SPLINTING
Reassessment is a continuous process
5

## Slide 6: CASUALTY MONITORING OVERVIEW
Module 20: Casualty Monitoring
END-TIDAL
CO2 MONITORING
M A R CH
Airway
Prolonged Casualty Care
Respiration
URINARY OUTPUT MONITORING
M A R C H
Circulation/Shock
Tactical Evacuation Care
Prolonged Casualty Care
VITAL SIGNS
MONITORING
M A R C H
Circulation/Shock
Head Injuries
Prolonged Casualty Care
Tactical Evacuation Care Prolonged Casualty Care
VITAL SIGNS TRENDS
M A R C H
Tactical Evacuation Care
Reassessment is a continuous process
6
Notes: End-tidal CO2 measurements can help establish and maintain a patent airway and ensure adequate ventilation.
As Combat Paramedics/Providers you may also be monitoring a few parameters that are not commonly monitored by CMCs, to include urine output in the determination of adequate fluid resuscitation, electronic vital signs monitoring and identifying trends in vital signs.
We’ll talk about all of these tools and procedures in more detail throughout this module, but hopefully this serves as an overview of how monitoring is a continuous process in the assessment, reassessment, and management of your casualty.

## Slide 7: LEVEL OF CONSCIOUSNESS ASSESSMENT
Module 20: Casualty Monitoring
if they respond, they are a P, or responds to Pain
U - UNRESPONSIVE
If there is no response, they are U, or Unresponsive
AVPU may be difficult to assess depending on the environment and the mission situation
7
AVPU
A – ALERT
Ask “Are you okay?” if the casualty answers coherently, then they are an A, or Alert
V - VERBAL
Ask “Are you okay?”
if the answer is not clear, ask the casualty to squeeze your finger or move an arm or leg; and if they respond, they are V, or responds to Verbal
P – PAIN
If no response, rub the breastbone, squeeze a toe over the toenail, or pinch their nose or earlobe (avoid injured areas);
Notes: The AVPU method, or Alert, Verbally responsive, Pain responsive, or Unresponsive, provides responders the information they need to make decisions. There are more advanced measures of response, like the Glasgow Coma Scale or the Grady Coma Scale,1 but in TFC they seldom provide additional information to guide treatments, and the AVPU method is preferred.
Although a formal assessment may be necessary, sometimes the casualty’s response to the tactical trauma assessment and treatments provide their status without taking time to formally check each step. For example, if they are conversing with the responders and engaging in their care, they are alert. And no formal assessment is needed before documenting that in their medical record. Likewise, if they are unconscious and not reacting to wounds and treatments known to be painful, they are unresponsive. Time permitting a formal assessment may be done, but if an important treatment might be delayed, it may not be necessary in those cases.
Formally assessing the level of consciousness is a relatively straightforward process. It involves three basic steps:
First, ask in a loud but calm voice, “Are you okay?” if the casualty answers coherently, then they are an A, or Alert on the AVPU scale.
However, if the casualty does not answer or mumbles, you should repeat in a loud but calm voice, “Are you okay?” to make sure they weren’t just distracted, and if the answer is not clear, ask the casualty to squeeze your finger or to move an arm or leg. If they respond to your command, they are V, or verbally responsive.
If they do not respond to voice commands, rub the breastbone briskly with a knuckle or squeeze the first or second toe over the toenail, or if the casualty is wearing individual body armor, pinch their nose or earlobe (but don’t try to elicit pain from any injuries). If the casualty responds in any way to painful stimuli, they are a P, or pain responsive.
And if the casualty does not respond to any of these three attempts, they are a U, or unresponsive.
AVPU may be difficult to assess depending on the environment and the mission situation.
Remember, all of this should be documented, along with the time of the assessment, on the casualty’s DD Form 1380 TCCC Casualty Card.

## Slide 8
Module 20: Casualty Monitoring
AVPU ASSESSMENT
Video can be found on deployedmedicine.com
8
Notes: The following video will highlight the procedure of assessing the level of consciousness of a casualty.

## Slide 9: Module 20: Casualty Monitoring PULSE ASSESSMENT
Pulse Assessment Principles:
Presence or absence of radial pulses is a sign of hypotension/shock and need for fluid resuscitation
PRACTICE assessing pulses on a variety of people to develop techniques for discovering anatomical variants
PRESS firmly at the pulse site, but avoid causing harm to the casualty by pressing too hard
DOCUMENT all findings and treatments on a DD Form 1380 TCCC Casualty Card and attach it to the casualty
Radial arteries are the preferred pulse assessment site in TFC
Using a timing device: Count the radial pulse bpm for 15 secs x (multiply) by 4
= casualty’s pulse rate in bpm
Radial Pulse
Dorsalis Pedis (Pedal)
Femoral Pulse
Carotid Pulse
Posterior Tibial
Radial Pulse
9
Notes: Assessing pulses is one of the most important tools available to determine a casualty’s status, and whether they are deteriorating or responding to treatments.2 Pulses can be checked at multiple different sites, and CPPs should be proficient at finding pulses at each of them, as the tactical and clinical situation may dictate that one site is most appropriate for the situation.3 If not done earlier as part of massive hemorrhage control, pulses should be checked during the circulation assessment, or “C” of MARCH, preferably using the radial arteries, if possible.4
The five pulse sites used in TFC are the carotids, the radials, the femorals, the dorsalis pedis, and the posterior tibials.
Estimating perfusion (or blood pressure) in a field setting often relies on determining palpable pulses. Published reports on blood pressure estimates from palpating radial pulses among the civilian trauma population are limited and lack consensus.5 One study reported that 83% of subjects with a palpable radial pulse had an SBP < 80 mmHg, whereas another study found that 100% of its subjects with a palpable radial pulse had an SBP > 80 mmHg.6 So, the presence or absence of radial pulses has been used as a sign of hypotension for determining shock and recommending fluid resuscitation.
That said, a study published in 2020 from the DOD Trauma Registry indicated that although mean systolic blood pressure was associated with radial pulse quality, characterization of the radial pulse was not always a reliable indicator of hypotension.7 They recommended assessing the blood pressure if tactically feasible, as some casualties with hypotension still had radial pulses.
Also, keep in mind that the pulse rate can help estimate a casualty’s status and provide information about changes in their status, regardless of their blood pressure. For example, the heart rate will increase prior to the blood pressure dropping in the normal hypovolemic response.
Landmarks for each pulse site are well-described, but individual anatomy varies. Several studies have reported unacceptably high errors in detecting pulses when they are not present and not detecting pulses when they are present.8, 9, 10 So, it is important to practice assessing pulses on a variety of people as you go through your training, as this will help you develop techniques for discovering pulses in those casualties who have anatomical variants. Several of those techniques are described in the detailed skill instructions that accompany this module.
Remember to press firmly at the pulse site, but to also avoid causing harm to the casualty by pressing too hard. This is more of an issue with the carotid arteries, where you can cause lightheadedness with excessive pressure, checking femoral pulses in the presence of a suspected pelvic fracture, and when checking pulses on injured extremities.

## Slide 10
Module 20: Casualty Monitoring
RADIAL PULSE ASSESSMENT
Video can be found on deployedmedicine.com
Notes: The following video will highlight how to assess radial pulses.

## Slide 11
Module 20: Casualty Monitoring
CAROTID PULSE ASSESSMENT
Video can be found on deployedmedicine.com
Notes: The following video will highlight how to assess carotid pulses.

## Slide 12
Module 20: Casualty Monitoring
FEMORAL PULSE ASSESSMENT
Video can be found on deployedmedicine.com
Notes: The following video will highlight how to assess femoral pulses.

## Slide 13
Module 20: Casualty Monitoring
DORSALIS PEDIS PULSE ASSESSMENT
Video can be found on deployedmedicine.com
Notes: The following video will highlight how to assess dorsalis pedis pulses.

## Slide 14
Module 20: Casualty Monitoring
POSTERIOR TIBIAL PULSE ASSESSMENT
Video can be found on deployedmedicine.com
Notes: The following video will highlight how to assess posterior tibial pulses.

## Slide 15: RESPIRATION ASSESSMENT RESPIRATORY RATE ASSESSMENT RESPIRATORY EFFORT ASSESSMENT
Module 20: Casualty Monitoring
TRIPOD RESPIRATIONS
RETRACTIONS
LOOK
Rise & fall of chest
LISTEN
Breath sounds
FEEL
Breath or chest rise
NASAL FLARING
Level of Evidence: B-NR
Respirations may be difficult to assess depending on the environment and the mission situation
Document rate, effort, and time on casualty’s DD Form 1380 TCCC Casualty Card
Notes: A thorough respiratory assessment consists of inspection, palpation, percussion, and auscultation;11 but in the field extraneous noises and tactical limitations make percussion and auscultation very difficult. As a result, inspection and palpation, looking at the respiratory rate and the respiratory effort, are the main tools the CPP will be able to use.
In the modules on airway and respiration, the concept of look, listen, and feel was discussed – looking at the rise and fall of the chest, as well as the effort to breath, listening for the sounds of breathing (or when possible, auscultating lung sounds), and feeling the breath against your cheek or the rise of the chest.
When assessing the rate, it is important to remember that body armor, ambient noises, and other tactical or environmental factors can make it very hard to see, hear, or feel the casualty’s breaths, especially if their effort is reduced, and you may need to reposition yourself or the casualty. Also, be sure to measure for at least 15 seconds, as slower rates often provide misleading information if measured for short time periods.12, 13
In addition, assess the respiratory effort. As discussed in the respiration module, basic signs and symptoms of respiratory distress include tripod respirations, orthopnea, nasal flaring, and retractions or any abnormal breath sounds. These can be an independent sign of distress14 and should also be documented along with the respiratory rate. The respiration assessment in both the clinical and tactical settings has been well-studied, and the level of evidence supporting the assessment of respirations and vital signs is based on prospective and retrospective observational studies.
Vital signs, to include the assessment of the level of consciousness, have been a cornerstone to clinical decision-making in the prehospital, transport, and hospitalization phases in civilian and military settings for many decades, with ample studies validating their utility.

## Slide 16: Module 20: Casualty Monitoring
PULSE OXIMETRY MONITORING
Factors Affecting Pulse Ox Readings
LOW readings may be seen with:
Shock
Cold temperatures Altitude
HIGH readings may be seen with:
Carboxyhemoglobinemia
IMPAIRED readings may be seen with:
Nail polish
Very bright environments Skin pigmentations Motion artifact
Poor perfusion
NOTE: Shock is not always preceded by a fall in O2 saturation levels
TCCC Guideline Recommendations for pulse ox: Diagnosing and monitoring respiratory distress, pneumothorax, traumatic brain injury, and refractory shock
Hypoxemia in TFC is difficult to assess
Low-light conditions mask signs Physical findings impaired by the
tactical environment
Use pulse oximetry in casualties with:
Injuries that impair oxygenation
Blasts, chest injuries, etc.
Traumatic brain injury
Ensure O2 Sats >90%
Level of Evidence: B-NR
16
Notes: Pulse oximetry measures peripheral arterial oxygen saturation which is a surrogate marker for tissue oxygenation. Pulse oximeters are now commonly included in the medical kits carried by Combat Paramedic/Providers and are a useful adjunct to physical examination skills during clinical assessments. Physical findings like cyanosis and pallor are very difficult to assess in low-light operations and hypoxemia can easily be missed.15
Normal pulse oximetry, or pulse ox, values are in the high 90s, unless at altitude, in which case they may be significantly lower. For example, a healthy person at 12,000 feet may have a pulse ox in the high 80s. This is an important point to remember during aeromedical evacuations when cabin altitudes may trigger a decrease in the pulse ox readings.16 Low saturation levels and trends to lower saturations can be indicative of respiratory compromise and should trigger further assessment to rule out life-threatening conditions.
There are several factors that can affect the pulse oximetry readings. Lowered readings can be caused by shock (where the poor perfusion affects the signal and causes a low reading) and cold temperatures (which cause peripheral vasoconstriction with a similar drop in perfusion). On the other hand, carboxyhemoglobin (seen in carbon monoxide poisoning) can cause a falsely elevated reading. And other conditions can interfere with the readings by altering the perceived intensity of the light signal, like very well-lit environments, nail polish, some skin pigmentations, and motion artifact.17
Pulse ox monitoring should be initiated in casualties who are unconscious or who have injuries associated with impaired oxygenation (like blast injuries, chest contusion, and penetrating injuries of the chest). It should also be used to monitor casualties who have TBI, in order to ensure that their oxygen saturations remain above 90%,18 as hypoxemia will worsen their clinical outcomes.19, 20
Keep in mind that saturation levels may not signal impending shock, as good hemoglobin oxygen saturations may be seen in casualties shortly before they go into hypovolemic shock.21, 22 Also, if a casualty has obvious signs of airway obstruction, tension pneumothorax, or hemorrhage, their treatment should not be delayed to establish pulse oximetry.
The use of pulse oximetry in both the clinical and tactical settings has been well-studied, and the level of evidence supporting the use of pulse oximetry is based on prospective and retrospective observational studies.

## Slide 17
Module 20: Casualty Monitoring
PULSE OXIMETRY
Video can be found on deployedmedicine.com
Notes: The following video will highlight how to use a pulse oximeter.

## Slide 18: Module 20: Casualty Monitoring
Confirm sensor paper matches “check” color
Fit tapered female end over the airway tube
Attach ventilation aid (bag valve mask)
Give 6 breaths
Assess for color changes
USING END-TIDAL CARBON DIOXIDE COLORIMETRIC DEVICES
End-tidal carbon dioxide (ETCO2) uses
Confirm advanced airway placement
Monitor for effective ventilation
Replace standard colorimetric devices after 2hrs, pull-tab devices after 24hrs
Fluids (secretions, blood, sputum) can render ETCO2 detectors ineffective
Qualitative
Colorimetric ETCO2 devices
Level of Evidence: B-NR
Notes: End-tidal carbon dioxide (CO2) colorimetric devices provide a qualitative measure of the CO2 being exhaled to help confirm that an advanced airway is properly positioned or that a casualty is being properly ventilated,23, 24, 25 and may provide some insight into whether ventilations during cardiopulmonary resuscitation are effective.26, 27
The colorimetric detector produces a color change as carbon dioxide flows through a pH sensitive indicator paper in the airway circuit.28 These detectors are very simple, light, and portable devices that do not require power, and are adaptable to the TFC environment.
Colorimetric end-tidal CO2 devices are relatively easy to use. When removed from its package, the paper color should match the color in the “check” area of the color chart that surrounds it. A tapered female end fits over the standard airway tube (endotracheal tube, tracheostomy tube, or extraglottic airway). The male end is the same standardized size as the airway to allow for attachment of a bag valve mask or other ventilation asset. When placed, the device is “in line” and the air will pass through it during both inhalation and exhalation. It may take a few breaths to clear the line of any CO2 build-up not related to ventilations, so don’t assess the color change until six breaths have occurred. Then, check the paper sensor color against the color chart that surrounds it. The absence of color change indicates an improperly placed airway, which should be repositioned and reassessed; while a color change indicates proper placement (the reaction of the reagents on the paper with the exhaled CO2), after which it should be monitored to ensure nothing changes.
Of note, the detector paper in colorimetric units is particularly sensitive to fluids; and fluids such as vomitus, frothy secretions from a casualty with traumatic pulmonary injuries, sputum, or moisture can render CO2 detectors ineffective. Also, a false negative CO2 reading may occur in cases of cardiac arrest when there is no cardiopulmonary circulation to carry CO2 to the alveoli and ultimately to the detector. Replace colorimetric devices after two hours, unless using a pull-tab device that is good for 24 hours, as the litmus reaction may diminish and provide false readings.29
Ensure that the manufactures’ guidelines are followed when reviewing the color-coded portion on the device.
The evidence supporting the use of end-tidal colorimetric devices in civilian prehospital care dates back several years and is fairly robust, but there is a paucity of studies in military settings. Nevertheless, the level of evidence supporting its use, based on the similarities of prehospital airway and respiratory management, is based on prospective and retrospective observational studies.

## Slide 19: Module 20: Casualty Monitoring ETCO2 COLORIMETRIC DEVICES
REMOVE the ETCO2
detection device from its package.
CHECK color of the indicator; if it is not similar to the “check” color on the reference scale (usually purple, with the exception of devices with a pull tab, which is usually a specific shade of blue), discard the unit and use a new one.
Following the establishment of an advanced airway, ATTACH the ETCO2
detector to the
advanced airway by sliding the tapered end (15mm internal diameter connector) of the monitoring device onto the airway device.
CONNECT the distal end of the device (15mm outer diameter connector), which is identical to an advanced airway connector, to the standard oxygen delivery equipment.
1
2
3
4
Notes: Study the following TCCC Combat Paramedic/Provider Module 20 End-Tidal Carbon Dioxide (ETCO2) Monitoring Colorimetric Detector Skill Instruction Sheet

## Slide 20: Module 20: Casualty Monitoring ETCO2 COLORIMETRIC DEVICES
STEP 6 NOTE: Carbon dioxide detectors contain a chemical indicator that is sensitive to CO2. When the detector is attached to a correctly positioned airway, the color of the indicator changes from the baseline “check” color (usually purple or a specific shade of blue) to a numbered or lettered color range (usually yellow) in response to elevated carbon dioxide
concentrations.
STEP 6 NOTE: When the detector is attached to an incorrectly positioned airway (in the esophagus, for example), the color of the indicator will not change or there will be an inadequate color change. In devices with a pull tab, a green or yellow/green color change indicates low levels of exhaled CO2.
STEP 6 CAUTION: ETCO2 detectors can be difficult to read in low-light or night vision conditions.
To assess proper airway placement, ATTACH a bag valve mask (BVM) to the ETCO2 detector, deliver six breaths, and compare the color change in the center indicator of the detector to the color ranges on the detector cover.
If the device has a PULL TAB, pull the red tab from the device to activate the ETCO2 detection function.
6
5

## Slide 21: Module 20: Casualty Monitoring ETCO2 COLORIMETRIC DEVICES
STEP 7 CAUTION:
With very low cardiac output during
cardiopulmonary resuscitation, there may be no color change in the ETCO2 detector, even though the airway is properly positioned
If there is NO COLOR CHANGE or an INADEQUATE COLOR
CHANGE in the ETCO2 detector, the advanced airway should be repositioned, and placement should be reassessed with the ETCO2 detector and a BVM.
Once the color change is seen, signifying proper airway placement, SECURE the airway.
Continue to MONITOR THE CASUALTY and the ETCO2 detector for the proper color change, reassessing the casualty and repositioning the airway device if the detector reverts to its baseline “check” color or stops changing color with respirations.
7
8
9
Notes: STEP 9 NOTE: While in use, the detector will continuously change colors with inspiration and expiration. If the detector becomes permanently yellow, discard and replace as needed.

## Slide 22: Module 20: Casualty Monitoring ETCO2 COLORIMETRIC DEVICES
REPLACE the ETCO2 detector after 2 hours or if exposed to fluids, unless using a device with a pull tab, in which case it can be used for up to 24 hours.
DOCUMENT all findings and treatments on a DD Form 1380 TCCC Casualty Card and attach it to the casualty.
10
11

## Slide 23: Module 20: Casualty Monitoring
USING DIGITAL END-TIDAL CARBON DIOXIDE DEVICES
Train on the devices you are likely to use when deployed
Level of Evidence: B-NR
CAPNOGRAPHY:
Minimum: Colorimetric
ETCO2 detector
PORTABLE CAPNOMETER
WAVEFORM CAPNOGRAPHY
Waveform capnography provides additional clinical information
Smaller and lighter weight
Superior battery life
Better:
Best:
Portable capnometer
Waveform capnography on patient monitor
CAPNOMETRY is the term used to describe the numerical reading corresponding to a CO2 concentration
CAPNOGRAPHY is the waveform produced with continuous measurement of CO2 concentrations
Notes: In the Joint Trauma System (JTS) Airway Management in Prolonged Field Care clinical practice guideline (ID:80), the use of portable capnography for monitoring is listed as a “better” practice,30 and its use in advance airway tube placement confirmation is also listed as a “better” practice.31 The “best” practice for both monitoring and validating advanced airway placement is waveform capnography. The previously mentioned limitations to electronic monitoring in a field environment make the use of digital/waveform capnography a less than ideal solution in many Tactical Field Care settings, but casualties experiencing delayed and prolonged evacuation times can often benefit from its use.
Digital capnography involves the use of an electronic monitoring with a CO2 sensor located in line with the patient’s breathing circuit (mainstream) or remote from the circuit (sidestream). The advantage of the sidestream, which uses a small aspiration pump, is that it can be used even if the casualty does not have an advanced airway and is ventilating on their own, as you might see in conscious sedation. An infrared (IR) spectroscope, filtered to include only the bandwidth corresponding to the absorption peak of CO2, senses the amount of carbon dioxide and can provide either a qualitative or quantitative assessment of the CO2 concentration.32
Capnometry is the term used to describe the numerical reading corresponding to a CO2 concentration, for example, 40 mm Hg, which is in the normal range of 35-45 mm Hg. Capnography is the waveform produced with continuous measurement of CO2 concentrations, and not only provides the numerical value seen in capnometry, but certain waveforms can provide clues to a casualty’s underlying respiratory or perfusion status. Both of these are considered digital capnography. Some studies have indicated that waveform capnography is better than capnometry in certain situations.33, 34, 35 For this reason, the JTS Airway Management in Prolonged Field Care clinical practice guideline section on capnography lists monitoring options in this order: minimum – colorimetric ETCO2 detector, better – portable capnometer, and best – waveform capnography on a patient monitor,36 with an appendix dedicated to waveform capnography.
A tactical advantage to portable capnometry devices is their size and weight. They can be much smaller than a monitor that provides waveform capnography and their battery life is usually superior.
Several studies have looked at the efficacy of colorimetric devices versus waveform capnography. A review by Hogg in the Emergency Medicine Journal looked at 69 studies and felt that four provided the best evidence for determining if colorimetric devices provided equivalent information to digital capnography. Their conclusion was that colorimetric CO2 detectors are as accurate as IR capnography at detecting tracheal intubation, but is potentially less accurate at detecting esophageal intubation.37
Each manufacturer provides specific instructions on the set-up and functions of their digital capnography devices. As with all of your equipment, it is important to train on the devices that you will encounter when deployed, so that you are not having to learn about them during the deployment or while tending to a casualty.

## Slide 24: Module 20: Casualty Monitoring
USING DIGITAL END-TIDAL CARBON DIOXIDE DEVICES
End Tidal Carbon Dioxide Monitoring provides valuable information about carbon dioxide production and clearance.
Often referred to as the “Ventilation Vital Sign”
A sudden DECREASE in ETCO2 can indicate hyperventilation or impending shock
A sudden INCREASE in ETCO2 can indicate malignant hyperthermia
The ABSENCE of EtCO2 in an intubated casualty is an indicator of misplaced ETT or potential life-threatening situation
What is EtCO2 Capnography?
Capnography is an instrument used to measure the amount of CO2 in exhaled air and represents the readings in a waveform tracing.
How Capnography works?
Infrared waves to measure carbon dioxide. Infrared waves have a lower frequency compared to light and is absorbed by gases that
Capnography Types of EtCO2 Sensors | 
Mainstream Sensors | The adapter is put in between the breathing circuit and the tracheal tube, CO2 is then measures across your air passage.
Sidestream Sensors | A sample tube and an adapter are used to aspirate the gases from the respiratory system.
Level of Evidence: B-NR
24
Notes: End-tidal carbon dioxide (ETCO2) monitoring provides valuable information about CO2 production and clearance (ventilation). Also called capnometry or capnography, this noninvasive technique provides a breath-by-breath analysis and a continuous recording of ventilatory status. In fact, it’s commonly called the “ventilation vital sign.”
By providing instantaneous feedback on the patient’s ventilation effectiveness, ETCO2 monitoring gives early warning of respiratory compromise. It also may reflect cardiac perfusion changes and has been used to indicate the effectiveness of chest compressions in cardiac arrest. What’s more, it confirms endotracheal tube placement and helps monitor ventilator circuit integrity.
The Science Behind the Technique
CO2 is a byproduct of cellular metabolism. Cells take in oxygen and glucose and release water, carbon dioxide, and energy. CO2 plays an important role in acid–base buffering. Depending on blood pH at any given time, CO2 converts either to carbonic acid (H2CO3, an acid) or to bicarbonate (HCO3-, a base).
CO2 exists in three primary states in the blood: as HCO3– (70%), bound to hemoglobin (20%), and dissolved in the plasma (10%). As HCO3-, CO2 influences blood pH; direct CO2 measurement indicates ventilatory effectiveness. Both pH and CO2 are measured from arterial blood gas (ABG) samples. While ETCO2 monitoring doesn’t directly indicate acid-base balance, it can shed light on ventilation efficacy.
CO2 combines with water to create H2CO3, which can degrade to bicarbonate, water, and CO2. This process occurs in red blood cells, where HCO3– is released back into the plasma ready to accept another hydrogen ion (H+), while CO2 and H2O are carried to the arterial-alveolar junction for release into the atmosphere. The lungs serve as a pump to promote the activity of ventilation.
Capnography is an instrument used to measure the amount of carbon dioxide in exhaled air and represents the readings in a waveform tracing. These are vital monitoring devices found in wards, ambulances, operating rooms and intensive and critical care.38
We all know that oxygen is vital for life. Oxygen goes through several steps in your body before it reaches the body cells. Once you breathe in oxygen, it is taken by your body cells which utilizes it and releases carbon dioxide as unwanted product. Carbon dioxide also goes through several steps before it is removed out of the body.
Capnography provides measurement that can help detect if there are problems in your body.
How It Works?
Capnography uses infrared waves to measure carbon dioxide. Infrared waves have a lower frequency compared to light and it is not visible to the naked eye. Infrared is absorbed by gases that have at least two different atoms. Since oxygen has two similar atoms, therefore it cannot absorb infrared waves. Carbon dioxide has two different atoms, thus it can absorb infrared waves.39
Beside carbon dioxide, infrared can measure other gases such as isoflurane and nitrous oxide. Advances in infrared technology has made it easy to reduce the response time and boost its accuracy and create high quality capnography waveforms in untimely babies with faster respiratory rates and small tidal volumes. Carbon dioxide values are shown as partial pressure.
Types of Sensors
Infrared technology consists of two sensors named according to the area where the capnograhy is placed. The following are types of sensors:40
Mainstream Sensors
In this kind of sensor, the adapter is put in between the breathing circuit and tracheal tube. Carbon dioxide is then measured across your air passage.
Side Stream Sensors
In side stream sensors, a sampling tube and an adaptor are used to aspirate the gases from your respiratory system. These gases are then transported to the infrared sensor. The transport of carbon dioxide to the infrared sensor is slow and it results in delay of measuring carbon dioxide and display of the capnography values
Proper means that you should know the normal readings for quantity, rate, shape and trending of EtCO2. In this case, normal means what we find in a healthy person with no metabolism, ventilation or perfusion problems. One of the great things about EtCO2 is that although ventilation rates vary based on age, normal readings for quantity, shape and trends are the same for men and women of all age groups, making them easy to remember.
Quantity; target EtCO2 value should be 35-45 mmHg.
Rate of ventilation should be 12-20 breaths per minute (bpm) for adults if the patient is breathing on their own and 10-12 bpm if you’re ventilating them. Children should be ventilated at a rate of 15-30 bpm; 25-50 bpm for infants. Ventilating too quickly won’t let enough CO2 build up in the alveoli, resulting in lower EtCO2 readings. Ventilating too slowly will allow extra CO2 to build up, resulting in higher readings.
Shape of the waveform should normally be a rectangle with rounded corners. Different waveform shapes can indicate different conditions.
Trending of the quantity, rate and shape of EtCO2 should be stable or improving.
Why EtCO2 Monitoring Is Important
It is generally accepted that EtCO2 monitoring is the practice standard for determining whether endotracheal tubes are correctly placed. However, there are other important indications for its use as well.
Ventilatory monitoring by EtCO2 measurement has long been a standard in the surgical and intensive care patient populations. Carbon dioxide monitoring should be regarded similarly in the pre-hospital setting: as a vital sign of a patient’s ventilatory status, helping to guide immediate and future treatment. Increasingly, scientific evidence underscores the importance of monitoring both ventilation and oxygenation in the critically ill or injured patient and supports protocols that include this vital parameter. Yet, the applications of CO2 monitoring in this setting have been limited despite data demonstrating its value.41 That CO2 monitoring is not as widely utilized as it could be in pre-hospital medicine is an issue that deserves new consideration.42
Capnography can be a life-saving modality because changes in EtCO2 levels are an early indicator of several potentially dangerous conditions. Too much or too little exhaled CO2 not only foreshadows deleterious physiological trends in critically ill or injured patients, but abnormal blood CO2 in itself can have serious consequences. A sudden decrease can indicate hyperventilation or impending shock, while a sudden increase can indicate malignant hyperthermia in the absence of ventilatory changes. The absence of EtCO2 in an intubated patient is an indicator of a misplaced endotracheal tube—a life-threatening situation.

## Slide 25: Module 20: Casualty Monitoring ELECTRONIC MONITORING
Cardiac Monitoring
Pulse rate
Rhythm abnormalities
Integrated Pulse Ox
SpO2 measurement
Blood Pressure Monitor
Automated reassessments
Other Capabilities
(vary by model)
Temperature End-tidal CO2
Battery life is limited; keep plugged into an electrical source when possible
Level of Evidence: B-NR
26
Notes: As electronic monitoring devices have become lighter and smaller, they have been introduced further forward on the battlefield. They are commonly seen in Battle Aid Stations, and in evacuation platforms, but may also be found elsewhere in the tactical environment.45 That said, limitations include their costs, the weight and size commitment to move them to a forward location, limited battery life, and the tactical considerations of applying and moving a monitor in an austere environment.
Electronic vital signs monitoring has been used in the prehospital and inpatient setting for several decades46 with enhanced patient outcomes noted for those patients who are monitored with an automated process, as opposed to those who have their vitals measured manually.47, 48, 49 The level of evidence supporting the use of vital sign monitors to aid in casualty care is considered high.
There isn’t a specific monitoring device that is universally utilized by all medics. The Patient Movement Items program50 has standardized an approach, but this principally applies to the field hospitals, fixed facilities and the medical evacuation system, and does not mandate a certain monitor type be adopted for Tactical Field Care. That said, all monitors have a few basic capabilities that every CPP should know about.51
The first is their cardiac monitoring capability. This involves application of monitor leads directly on the casualty’s skin, with manufacturer guidelines identifying the electrode locations and device operation. Although the primary function of this in TFC is to evaluate the heart rate, if there are irregularities to the rhythm this might also indicate a need for further evaluation by an advanced provider.
Another feature is an integrated pulse oximeter. The application of the probe is the same as a portable pulse ox, usually using a finger, or perhaps a toe. And the functionality and limitations just discussed all apply, as well.
The automated blood pressure capability allows the responder to place a cuff on the casualty and set a timer for serial pressure measurements without having to manually assess the pressure each time. Of course, a new assessment can be initiated at any time through a simple request. The machine also stores the results of each pressure reading, in case the CPP has been dedicated to other casualty care and was unable to document the findings after each cycle.
Some monitors will have additional capabilities for more advanced monitoring, like end-tidal carbon dioxide or temperature monitors; which may require more advanced training.
Although the monitors do run on batteries, the battery life is not always optimal for the situation. So, when possible, keep the monitor plugged into an electrical source during use and between uses.
Also, since every monitor is a little different than the next, make sure that you familiarize yourself with the monitors you are likely to encounter when deployed, and use that type of monitor in your routine training at home station. The use of electronic monitoring devices in both the clinical and tactical settings has been well-studied, and the level of evidence supporting the use of electronic monitoring devices is based on prospective and retrospective observational studies.

## Slide 26
Module 20: Casualty Monitoring
MONITORING: ELECTRONIC VITAL SIGNS
Video can be found on deployedmedicine.com
27
Notes: The following video will highlight how to use an electronic monitor.

## Slide 27: Module 20: Casualty Monitoring
INDICATIONS & PRINCIPLES OF FOLEY CATHETERIZATION & URINE OUTPUT MONITORING
Level of Evidence: B-NR
INDICATIONS for monitoring urine output:
Fluid status in burn patients
Assessment of ongoing resuscitation efforts
Prolonged field care volume status
Goal for adequate urine output:
0.5 to 1.0 mL/kg/hr or 30-50 mL/hr
ADVANTAGES to catheterization:
Rapid feedback on volume status
Casualty comfort (non-ambulatory)
Efficiencies in care and transport (non-ambulatory)
CONTRAINDICATIONS
to catheter:
Obvious trauma to urethra, blood at the meatus
Gross hematuria
Significant pain on insertion or inability to easily insert
Notes: The use of urine output as a monitoring tool is not mentioned in the TCCC Guidelines, but it is discussed in several of the JTS clinical practice guidelines, to include burn care,52, 53 burn wound management in PFC,54 damage control resuscitation in PFC,55 and nursing intervention in PFC,56 as well as the Borden Institute Emergency War Surgery book.57
Primary indications for measuring urine output in austere conditions are to indicate adequate resuscitation from hemorrhagic shock,58 to monitor fluid status in burn patients,59 and to ensure ongoing volume status stability in prolonged field care settings, regardless of the nature of the injury or illness.60, 61, 62, 63 A less commonly discussed benefit to catheterization is the decompression of the bladder in a trauma patient who may be unable to void normally due to pain (or pain medications) or the nature of their injuries. There are several studies that demonstrate improved outcomes from following standards of care or clinical practice guidelines that advocate for monitoring urine output,64 however, it is difficult to draw a direct cause and effect relationship between urine output and the outcome, as there are several factors in addition to urine output that contribute to those improved outcomes. That said, the repeated emphasis on urine output in a wide variety of practice guidelines and best practices provide a moderate to high level of evidence supporting its use.
Urine output can be measured with or without a catheter in place. In the JTS Damage Control Resuscitation CPG they offer a minimum and best practice approach. Minimum is, if a casualty can void, to capture urine in premade or improvised graduated cylinder (like a Nalgene bottle). This involves collecting all spontaneously voided urine and carefully measuring it. A goal for adequate urine output would be 30-50 ml/hour (0.5-1.0 ml/kg/hr), so more than 180ml every 6 hours is adequate for adults. And a best practice would be to place a Foley catheter and measure the urine output hourly.65 The same recommendations apply to managing sepsis resuscitation in PFC.66
A primary reason for the best practice involving a catheter and hourly urine output measurements is that it is less than optimal to wait for up to 6 hours to begin an intervention or correct a suboptimal resuscitation effort because the casualty has not needed to void, yet. Additionally, even if a casualty is maintaining an acceptable blood pressure, they may not be perfusing their vital organs adequately,67, 68 and a low urine output may uncover that situation faster when assessing output on an hourly basis. Additionally, having a catheter in place in casualties who are not ambulatory provides additional comfort for the patient and facilitates care and transport of the casualty.
Of course, there are several limitations to monitoring urine output in a tactical environment. Resource limitations include the time and trained personnel to perform a catheterization or even to dedicate time to each casualty that should be monitored. Because of the time commitments it is not common to have urine output monitored in a Tactical Field Care situation where the casualty will be evacuated fairly quickly. And not all units/equipment bags have catheters and/or collection devices. The tactical situation may also present difficulties in safely performing procedures or routinely monitoring the casualty, in general. Contraindications to Foley placement (not urine monitoring) include obvious trauma with blood at the urethral meatus, gross hematuria, evidence of urethral infection, and significant urethral pain or discomfort on insertion (or inability to relatively easily pass the catheter).69

## Slide 28: Module 20: Casualty Monitoring
Whenever possible, use sterile techniques
Ambulatory self-collection
Improvised catheter collector
FOLEY CATHETER INSERTION URINE OUTPUT MONITORING
Basic steps for catheter insertion:
Urine collection bag
Prepare materials Position casualty Drape and sterilize
Lubricate and anesthetize Insert catheter
Confirm and secure in place
Document urine output on an hourly basis
Notes: The basic steps involved in inserting a Foley catheter are essentially the same in most reference materials. They involve preparing the equipment, positioning the casualty, donning sterile gloves and draping the casualty, sterilizing the urethral meatus and surrounding tissue, lubricating the meatus with a water-based gel, preferably one with a topical anesthetic, and then inserting and advancing the catheter through the meatus.70 Proper placement is usually confirmed by the presence of urine in the catheter (or collection bag). The balloon can then be inflated to keep the catheter in place, although it is still a good idea to tape the external tubing to prevent it from getting caught and potentially dislodged during casualty movements.
In the tactical environment, it isn’t uncommon to forego sterility from time to time based on the circumstances. But with Foley catheterization, every effort should be made to perform the procedure under sterile conditions, and not potentially create another problem for the casualty by introducing an infection.
Connecting a collecting bag to the catheter is ideal, if one is available. They sometimes come with a urometer which allows for accurate assessment of output, but sometimes the markings are not very accurate and it is difficult to get an exact measurement. Keep in mind that if the collection device you use or improvise doesn’t have volume markings, you can use a syringe and some water to establish volume markings.
If no collecting bag is available there are a few options. One would be to improvise a collection device, preferably with something that could be marked to help determine the urine volume (a Nalgene bottle, as previously mentioned, a sturdy plastic bag, etc.), and the other would be to clamp/close off the catheter and then release it every hour, measuring the output. This does have a slightly higher risk of introducing an infection, but may be expedient depending on the situation.
Remember, you should not use the initial void to determine hourly urine outputs, as you do not know who long it may have been since the casualty last fully emptied their bladder.

## Slide 29: Module 20: Casualty Monitoring FOLEY CATHETERIZATION
EXPLAIN the procedure to the casualty, (if conscious).
PROVIDE PRIVACY for
the casualty.
POSITION the casualty.
Female: Supine, with the legs extended or flexed and spread approximately 45 degrees.
Male: Supine, with legs extended.
REMOVE the outer wrapper from the catheter kit.
CAUTION: If the kit is damaged, soiled, water- spotted, outdated, it must be discarded and replaced.
1
2
3
4
Notes: Study the following TCCC Combat Paramedic/Provider Module 20 Foley Catheter Skill Instruction Sheet.

## Slide 30: Module 20: Casualty Monitoring FOLEY CATHETERIZATION
POSITION the catheter kit in a place where is it easily accessible, and sterility can be maintained.
UNFOLD the inner wrapper, creating a sterile field.
CAUTION: Touching the inside of the inner wrapper will contaminate the unit.
PUT ON sterile gloves.
5
6
7

## Slide 31: Module 20: Casualty Monitoring FEMALE FOLEY CATHETERIZATION
POSITION the first drape (plastic- coated).
Aseptically remove and fully unfold the first drape.
Grasp the drape at the top edge (plastic side away) and fold the top of the drape over the gloved hands to make a cuff.
Place the drape, plastic side down, on the bed between the casualty’s legs. Slip the cuffed edge under the casualty’s buttocks.
POSITION the second drape (fenestrated).
Aseptically removed and fully unfold the second drape.
Place the drape over the genitalia ensuring the window exposes the labia.
PREPARE Catheterization kit
Open the package of sterile lubricant, and squeeze it into a corner of the compartment in which it was stored in.
Open the package of antiseptic solution and pour it over the cotton balls.
Remove the plastic cover from the catheter and tubing (if included).
NOTE: Preparation of catheterization kit sequence and configuration may differ between products.
8
9
10

## Slide 32: Module 20: Casualty Monitoring FEMALE FOLEY CATHETERIZATION
TEST the catheter’s balloon.
Attach the prefilled syringe to the valve on the catheter and twist it to lock it in place.
Inject the contents of the syringe (usually 5 to 10 centimeters [cc] of water) into the balloon and observe for leaks.
Deflate the balloon by aspirating the water back into the syringe and leave the syringe in place.
PLACE the catheter back into the kit for later use.
NOTE: If the kit does not come with a pre-connected urine drainage system, ensure the foley catheter is securely connected to the drainage system.
CLEAN catheterization site with cotton balls or swabs covered in povidone iodine solution.
NOTE: Cotton balls should be held with forceps.
Gently spread the labia open with nondominant hand
Place the thumb and forefinger between the labia minora.
Separate the labia and pull up slightly.
11
12
13
NOTE: Discard the equipment If the balloon leaks and begin the procedure again with new equipment.

## Slide 33: Module 20: Casualty Monitoring FEMALE FOLEY CATHETERIZATION
With the dominant hand, clean the far labia with a cotton ball or swab, moving from the clitoris toward the anus.
Use a second cotton ball or swab to clean the near labia.
Use a third cotton ball or swab to clean down the center, directly over the urinary meatus.
Keep the labia spread throughout the remainder of the procedure.
LUBRICATE the
catheter.
Pick up the catheter with the dominant hand about 4 inches from the tip while maintaining positive control of the remaining tubing.
Apply lubricant to the catheter tip.
INSTRUCT the
casualty (if conscious) to relax and breathe through the mouth.
INSERT the catheter.
Gently insert the catheter into the urethra about 2 to 3 inches or until resistance is met.
Continue to advance the catheter until urine begins to flow (about 2 to 3 inches further).
Release the labia and hold the catheter securely with the nondominant hand.
13
14
15
16

## Slide 34: Module 20: Casualty Monitoring FEMALE FOLEY CATHETERIZATION
INFLATE the balloon with the prefilled syringe of sterile water.
Remove the syringe from the catheter by using a twisting motion.
Gently pull back on the catheter until resistance is met to ensure that the balloon is fully inflated and seated in the bladder.
REMOVE the drapes.
SECURE the catheter to the inner thigh or stomach with tape.
DISPOSE of the used equipment and clean the area.
REPOSITION the
casualty, as needed.
DOCUMENT all
findings and treatments on a DD Form 1380 TCCC
Card and attach to
the casualty.
17
18
20
21
22
19
NOTE: If the balloon is difficult to inflate, advance the catheter another
½ to 1 inch to ensure that the catheter tip is fully within the bladder.

## Slide 35: Module 20: Casualty Monitoring MALE FOLEY CATHETERIZATION
POSITION the first drape (plastic- coated).
Aseptically remove and fully unfold the first drape.
Grasp the drape at the top edge (plastic side away) and fold the top of the drape over the gloved hands to make a cuff.
Place the drape, plastic side down, on the bed between the casualty’s legs. Slip the cuffed edge under the casualty’s buttocks.
POSITION the second drape (fenestrated).
Aseptically removed and fully unfold the second drape.
Place the drape over the genitalia ensuring the window exposes the labia.
PREPARE Catheterization kit
Open the package of sterile lubricant, and squeeze it into a corner of the compartment in which it was stored in.
Open the package of antiseptic solution and pour it over the cotton balls.
Remove the plastic cover from the catheter and tubing (if included).
NOTE: Preparation of catheterization kit sequence and configuration may differ between products.
10
9
8

## Slide 36: Module 20: Casualty Monitoring MALE FOLEY CATHETERIZATION
TEST the catheter’s balloon.
Attach the prefilled syringe to the valve on the catheter and twist it to lock it in place.
Inject the contents of the syringe (usually 5 to 10 [cc] of water) into the balloon and observe for leaks.
Deflate the balloon by aspirating the water back into the syringe and leave the syringe in place.
PLACE the catheter back into the kit for later use.
NOTE: If the kit does not come with a pre-connected urine drainage system, ensure the foley catheter is securely connected to the drainage system.
CLEAN catheterization site with cotton balls or swabs covered in povidone iodine solution.
Support the penis with the nondominant hand.
With the dominant hand, clean the penis with a cotton ball or swab, moving in a circular motion from the urinary meatus toward the base of the glans.
Repeat the procedure, using a second and third cotton ball or swab.
11
12
13
NOTE: Discard the equipment If the balloon leaks and begin the procedure again with new equipment.

## Slide 37: Module 20: Casualty Monitoring MALE FOLEY CATHETERIZATION
LUBRICATE the catheter.
Pick up the catheter with the dominant hand about 4 inches from the tip while maintaining positive control of the remaining tube.
Apply lubricant to the catheter tip.
INSTRUCT the casualty (if conscious) to relax and breathe through the mouth
INSERT the catheter.
Draw the penis upward and forward to a 60–90- degree angle.
Gently insert the catheter into the urethra, advancing it about 7 to 8 inches or until resistance is felt.
Continue to advance the catheter until urine begins to flow (about 2 to 3 inches further).
Lower the penis and hold the catheter securely.
INFLATE the catheter balloon with the prefilled syringe of sterile water.
Remove the syringe from the catheter by using a twisting motion.
Gently pull back on the catheter until resistance is met to ensure that the balloon is fully inflated and seated in the bladder.
15
16
17
14

## Slide 38: Module 20: Casualty Monitoring MALE FOLEY CATHETERIZATION
INFLATE the catheter balloon with the prefilled syringe of sterile water.
Remove the syringe from the catheter by using a twisting motion.
Gently pull back on the catheter until resistance is met to ensure that the balloon is fully inflated and seated in the bladder.
NOTE: If the balloon is difficult to inflate, advance the catheter another
½ to 1 inch to ensure that the catheter tip is fully within the bladder.
REMOVE the drapes.
SECURE the catheter to the inner thigh or stomach with tape.
NOTE: The penis may be positioned up or down (facing the casualty’s head or feet), depending upon the diagnosis and/or the casualty’s comfort preference.
ENSURE the drainage bag is always kept lower than the casualty (especially during casualty movement) to allow free flow of urine into the drainage system.
CAUTION: If casualty is on a litter DO NOT secure the drainage system to the litter.
20
19
18
17

## Slide 39: Module 20: Casualty Monitoring MALE FOLEY CATHETERIZATION
INSERT the of the used equipment and clean the area.
REPOSITION the casualty, as needed.
DOCUMENT all findings and treatments on a DD Form 1380 TCCC Card and attach to the casualty.
21
22
23

## Slide 40: CASUALTY MONITORING SKILL STATION
Module 20: Casualty Monitoring
End-Tidal CO2 Colorimetric Devices
End-Tidal CO2 Digital Devices Urinary Foley Catheterization
Electronic Monitoring Devices
Notes: The following skill cards will demonstrate the use of an end-tidal CO2 colorimetric device, digital capnography, the use of an electronic monitor, Foley catheter insertion, and the measurement of urine output.

## Slide 41: Module 20: Casualty Monitoring
Vital signs are very important during transition of care to the medical evacuation team
MONITORING VITAL SIGN TRENDS
Reasons for following trends in vital signs
Provides insight into the casualty’s clinical course not obvious from single set of vitals
Helps responder identify need for early interventions or assessments
Validates successful fluid resuscitation or other interventions
Remembering vital signs of each casualty is difficult!
Document all findings on the DD Form 1380 after each assessment
Even if clinically stable, reassess routinely
Notes: Each set of vital signs, urine output, and level of consciousness assessment provides a snapshot of the casualty’s status at the time they are taken. Often, that is enough information to help the responder make decisions on casualty care and when interventions are appropriate. But sometimes an isolated set of vital signs may look reasonable and not trigger any action, yet represent a change from baseline that could alter the treatment plan if the responding medic was aware of the change.71
Examples of this would include an increasing heart rate over time when serial measurements are available. This is often indicative of persistent blood loss and would normally lead to a reassessment of all hemorrhage control measures and a search for sources of occult blood loss. The same could be said for a decreasing level of consciousness over time, which might represent worsening shock, or progressive damage from brain injuries.
Trends in vital signs provide insight into the casualty’s clinical course that helps the responder identify the need for interventions or assessments earlier than would happen with a single set of vital signs.72, 73 Not all trends are signs of deterioration, though. With fluid resuscitation or other interventions, vital signs often trend towards normal when responding properly.
When caring for multiple casualties, it is very difficult to remember the vital signs of each casualty and the changes that occur over time. This is why it is so important to document all of these findings on the DD Form 1380 TCCC Casualty Card after each assessment.
Another time when trends in vital signs are very important is during the transition of casualty care from the Combat Paramedic/Provider to the medical evacuation team. This is the first time they have seen the casualty, and objectively demonstrating how they progressed (or regressed) during the TFC or PFC treatment phase helps the evacuation team know how to respond to in-transit changes.
Even if your casualty appears stable and is being evacuated, routinely and continuously reassess their status and document their vital signs, looking for any trends that might change your treatment plan.

## Slide 42: Module 20: Casualty Monitoring
Subject Category | Study Types | Level of Evidence
Vitals – AVPU, Pulses, and Respiratory Rates | Prospective and Retrospective Observational Study | B-NR
Pulse Oximetry | Prospective and Retrospective Observational Study | B-NR
Colorimetric End-Tidal CO2 Monitoring | Prospective and Retrospective Observational Study | B-NR
Electronic Monitoring | Meta-analysis of Randomized and nonrandomized studies | B-NR
Foley Catheterization and Urine Output Monitoring | Prospective Observational Study | B-NR
Digital CO2 Monitoring | Meta-analysis of Randomized and nonrandomized studies | B-NR
EVIDENCE SUPPORTING MONITORING STRATEGIES
Notes: Although the evidence for the current guidelines and recommendations varies from consensus subject matter opinion to prospective studies and systematic reviews, most of the evidence reaches the level of moderate or high quality.
Longstanding evidence with prehospital, clinical, and military-based studies in austere conditions all validate the high-quality evidence for standard vital signs to include pulses, respirations, and levels of consciousness assessment, as well as pulse oximetry. The evidence is a little less robust, particularly in the military literature, for end-tidal CO2 monitoring, but there is still a moderate to high level of evidence present.
Electronic monitors have a high level of evidence supporting their use, both in the civilian and military prehospital settings. The use of urine output and the need for bladder catheterization is well-studied in the hospitalized setting, but less information is available on its use in the combat casualty care setting. But there is still a moderate to high level of evidence-based on its integration into CPGs and subject matter expert recommendations. Point-of-care lactate monitoring is still a matter of research in the combat care community, but enough support can be extrapolated from the civilian prehospital information to give it a moderate level of evidence. Point-of-care ultrasound, on the other hand, has had a lot more experience and research on the military side, and the level of confidence for its inclusion as a monitoring aid is moderate to high.

## Slide 43: Module 20: Casualty Monitoring
Level of Evidence | AHA Recommendation System Terminology Explanation | Why the AHA Classification System?
A | Evidence from multiple randomized clinical trials (RCT) with concordant results or from HIGH-QUALITY meta-analyses. | The level of evidence recommendations allow readers to quickly glean information on the strength, certainty, and quality of evidence supporting each recommendation. A recommendation with Level of Evidence (LOE) C does not imply that the recommendation is weak. Although, RCTs are unavailable, there may be a very clear clinical consensus that a particular test or therapy is useful or effective.
B-R | Evidence from moderate-quality trials, or a meta-analysis of moderate quality (RCT) followed by an R to denote RANDOMIZED studies | 
B-NR | Evidence from moderate-quality trials, or a meta-analysis of moderate quality followed by NR to denote NON-RANDOMIZED studies | 
C-LD | There is no convincing evidence and is followed by LD to indicate LIMITED DATA | 
C-EO | There is no convincing evidence and is followed by EO if the consensus is based on EXPERT OPINION, case studies or standards of care. | 
ASSESSING THE EVIDENCE FOR GUIDELINES

## Slide 44: SUMMARY
Module 20: Casualty Monitoring
Skills and Abilities
Application and use of colorimetric End- Tidal CO2
Application and use of electronic vital signs monitoring devices
Urinary foley catheter insertion
Knowledge Topics
Identify methods and limitations of assessing LOC, pulses, respiratory rate, and pulse oximetry
Principles of foley catheterization and urinary output
Following trends in vital signs
Notes: During this module, we went over the basics of monitoring casualties in the Tactical Field Care phase.
Assessing the level of consciousness, identifying pulses, and determining the respiratory rate and effort, as well as using pulse oximetry and end-tidal carbon dioxide colorimetric and digital devices were all reviewed. Additionally, the potential use of Foley catheterizations and urine output and electronic monitoring was introduced. And the importance of continuous reassessment and monitoring trends in vital signs was emphasized.
Afterward, in the skill stations, the procedures for assessing the AVPU status of a casualty, checking the various pulses, and measuring the respiratory rate were all demonstrated. Also, the use of electronic monitors and the application and assessment of pulse oximetry, end-tidal CO2 colorimeters, and digital capnometry were demonstrated. Lastly, the insertion of Foley catheters and monitoring urine output were also demonstrated.

## Slide 45: CHECK ON LEARNING
Module 20: Casualty Monitoring
What does AVPU stand for?
Why do the TCCC Guidelines state that checking a radial pulse is critical?
What is the importance of following trends in vital signs?
Notes: To close out this module, check your learning with the questions below (answers under the image).
Answers
What does AVPU stand for?
The AVPU method, or Alert, Verbally responsive, Pain responsive or Unresponsive, provides responders the information they need to make decisions.
Why do the TCCC Guidelines recommend checking a radial pulse?
The presence or absence of radial pulses is used as a sign of hypotension for determining shock and recommending fluid resuscitation.
What is the importance of following trends in vital signs?
Trends in vital signs provide insight into the casualty’s clinical course that help the responder identify the need for interventions or assessments earlier than would happen with a single set of vital signs.

## Slide 46
Module 20: Casualty Monitoring
ANY QUESTIONS?

## Slide 47: REFERENCES
Module 20: Casualty Monitoring
CURRENT EDITION
TCCC: Guidelines
by JTS/CoTCCC
These guidelines, updated regularly, are the result of decisions made by CoTCCC in exploring evidence-based research on best practices.
PHTLS: Military Edition, Chapter 25
by NAEMT
Prehospital Trauma Life Support (PHTLS), Military Edition, teaches and reinforces the principles of rapidly assessing a trauma patient using an orderly approach.
Notes: 1 Romanelli D, Farrell MW. AVPU Score. [Updated 2021 Apr 14]. In: StatPearls [Internet]. Treasure Island (FL): StatPearls Publishing; 2021 Jan-. Available from: https://www.ncbi.nlm.nih.gov/books/NBK538431, accessed 13 Dec 21.
2 Zimmerman B, Williams D. Peripheral Pulse. [Updated 2021 Sep 2]. In: StatPearls [Internet]. Treasure Island (FL): StatPearls Publishing; 2021 Jan-. Available from: https://www.ncbi.nlm.nih.gov/books/NBK542175/, accessed 13 Dec 21.
3 Hill RD, Smith RB III. Examination of the Extremities: Pulses, Bruits, and Phlebitis. In: Walker HK, Hall WD, Hurst JW, editors. Clinical Methods: The History, Physical, and Laboratory Examinations. 3rd edition. Boston: Butterworths; 1990. Chapter 30. Available from: https://www.ncbi.nlm.nih.gov/books/NBK350/, accessed 13 Dec 21.
4 Tactical Combat Casualty Care Guidelines, 15 December 2021, para 6.b. https://deployedmedicine.com/market/31/content/40, accessed 17 Dec 21.
5 Deakin CD, Low JL. Accuracy of the advanced trauma life support guidelines for predicting systolic blood pressure using carotid, femoral, and radial pulses: observational study. BMJ. 2000;321(7262): 673-674.
6 McManus J, Yershov AL, Ludwig D, et al: Radial pulse character relationships to systolic blood pressure and trauma outcomes. Prehosp Emerg Care 2005; 9(4): 423–8.
7 Naylor JF, Fisher AD, April MD, Schauer SG. An analysis of radial pulse strength to recorded blood pressure in the Department of Defense Trauma Registry. Military Medicine, Volume 185, Issue 11-12, November-December 2020: e1903–e1907.
8 Eberle B, Dick W, Schneider T, Wisser G, Doetsch S, Tzanova I. Checking the carotid pulse check: diagnostic accuracy of first responders in patients with and without a pulse. Resuscitation 1996; 33(2): 107–16.
9 Lundin M, Wiksten J-P, Peräkylä T, et al. Distal pulse palpation: is it reliable? World J Surg 1999; 23(3): 252–5.
10 Mather C, O’Kelly S. The palpation of pulses. Anaesthesia 1996; 51(2): 189–91.
11 Mehta M. Performing a respiratory assessment. Nursing Critical Care. May 2010; vol 5, issue 3: 45-47.
12 Flenady T, Dwyer T, Applegarth J. Accurate respiratory rates count: So should you! Australas Emerg Nurs J. 2017 Feb;20(1):45-47.
13 Parkes R. Rate of respiration: the forgotten vital sign. Emerg Nurse. 2011 May;19(2): 12-7.
14 Prekker ME, Feemster LC, Hough CL, et al. The epidemiology and outcome of prehospital respiratory distress. Acad Emerg Med. 2014;21(5): 543-550.
15 DeMeulenaere, Susan. (2007). Pulse Oximetry: Uses and Limitations. The Journal for Nurse Practitioners. 3. 312-317.
16 Ross EM, Matteucci MJ, Shepherd M, Barker M, Orr L. Measuring arterial oxygenation in a high-altitude field environment: comparing portable pulse oximetry with blood gas analysis. Wilderness Environ Med. 2013 Jun;24(2): 112-7.
17 Mark N, Lyubin A, Gerasi R, Ofir D, Tsur AM, Chen J, Bader T. Comparison of the Effects of Motion and Environment Conditions on Accuracy of Handheld and Finger-Based Pulse Oximeters. Mil Med. 2021 Jan 25;186(Suppl 1): 465-472.
18 Tactical Combat Casualty Care Guidelines, 15 November 2021. https://deployedmedicine.com/market/31/content/40, accessed 17 Dec 21.
19 Yan EB, Satgunaseelan L, Paul E, et al. Post-traumatic hypoxia is associated with prolonged cerebral cytokine production, higher serum biomarker levels, and poor outcome in patients with severe traumatic brain injury. J Neurotrauma. 2014;31(7):618-629.
20 Chi JH, et al. Prehospital Hypoxia Affects Outcome in Patients With Traumatic Brain Injury: A Prospective Multicenter Study, The Journal of Trauma: Injury, Infection, and Critical Care: November 2006 - Volume 61 - Issue 5 - p 1134-1141.
21 Jeong JH, Park YJ, Kim DH, et al. The new trauma score (NTS): a modification of the revised trauma score for better trauma mortality prediction. BMC Surg. 2017;17(1): 77.
22 Qi J, Ding L, Bao L, Chen D. The ratio of shock index to pulse oxygen saturation predicting mortality of emergency trauma patients. PLoS One. 2020;15(7): e0236094.
23 Hayden SR, Sciammarella J, Viccellio P, Thode H, Delagi R. Colorimetric end-tidal CO2 detector for verification of endotracheal tube placement in out-of-hospital cardiac arrest. Acad Emerg Med. 1995 Jun;2(6): 499-502.
24 Nowicki T, Jamal Z, London S. Carbon Dioxide Detector. [Updated 2021 Aug 12]. In: StatPearls [Internet]. Treasure Island (FL): StatPearls Publishing; 2021 Jan-. Available from: https://www.ncbi.nlm.nih.gov/books/NBK482169/; accessed 13 Dec 21.
25 Goldberg JS, Rawle PR, Zehnder JL, Sladen RN. Colorimetric end-tidal carbon dioxide monitoring for tracheal intubation. Anesth Analg. 1990 Feb;70(2): 191-4.
26 Sheak KR, Wiebe DJ, Leary M, Babaeizadeh S, Yuen TC, Zive D, Owens PC, Edelson DP, Daya MR, Idris AH, Abella BS. Quantitative relationship between end-tidal carbon dioxide and CPR quality during both in-hospital and out-of-hospital cardiac arrest. Resuscitation. 2015 Apr;89: 149-54.
27 Nakatani K, Yukioka H, Fujimori M, Maeda C, Noguchi H, Ishihara S, Yamanaka I, Tase C. Utility of colorimetric end-tidal carbon dioxide detector for monitoring during prehospital cardiopulmonary resuscitation. Am J Emerg Med. 1999 Mar;17(2): 203-6.
28 Aminiahidashti H, Shafiee S, Zamani Kiasari A, Sazgar M. Applications of End-Tidal Carbon Dioxide (ETCO2) Monitoring in Emergency Department; a Narrative Review. Emerg (Tehran). 2018;6(1): e5.
29 Nowicki T, Jamal Z, London S. Carbon Dioxide Detector. [Updated 2021 Aug 12]. In: StatPearls [Internet]. Treasure Island (FL): StatPearls Publishing; 2021 Jan-. Available from: https://www.ncbi.nlm.nih.gov/books/NBK482169/; accessed 13 Dec 21.
30 Dye C, et al. Airway Management in Prolonged Field Care (CPG ID:80). Joint Trauma System Clinical Practice Guideline. 1 May 2020, page 6.
31 Dye C, et al. Airway Management in Prolonged Field Care (CPG ID:80). Joint Trauma System Clinical Practice Guideline. 1 May 2020, page 9.
32 Donald MJ, Paterson B. End tidal carbon dioxide monitoring in prehospital and retrieval medicine: a review. Emerg Med J. 2006;23(9): 728-730.
33 Grmec S. Comparison of three different methods to confirm tracheal tube placement in emergency intubation. Intensive Care Med 2002; 28: 701.
34 Nagler J, Krauss B. Capnography: a valuable tool for airway management. Emerg Med Clin North Am. 2008 Nov;26(4): 881-97, vii.
35 Bhende MS, LaCovey DC. End-tidal carbon dioxide monitoring in the prehospital setting. Prehosp Emerg Care. 2001 Apr-Jun;5(2): 208-13.
36 Dye C, et al. Airway Management in Prolonged Field Care (CPG ID:80). Joint Trauma System Clinical Practice Guideline. 1 May 2020, page 13.
37 Hogg K, Teece S. Colourimetric CO2 detector compared with capnography for confirming ET tube placement. Emergency Medicine Journal. 2003;20: 265-266.
38 Brochard L, Martin GS, Blanch L, et al. Clinical review: Respiratory monitoring in the ICU—a consensus of 16. Crit Care. 2012 Apr 36; 16(2):219.
39 Lah K, Križmari´c M, Grmec S. The dynamic pattern of end-tidal carbon dioxide during cardiopulmonary resuscitation: difference between asphyxial cardiac arrest and ventricular fibrillation/pulseless ventricular tachycardia cardiac arrest. Crit Care. 2011;15(1):R13.
40 McSwain SD, Hamel DSS, Smith PB, et al. End-tidal and arterial carbon dioxide measurements correlate across all levels of physiologic dead space. Respir Care. 2010 Mar;55(3):288-93.
41 Porth CM, Matfin G. Pathophysiology: Concepts of Altered Health States. 8th ed. Phila-delphia: Lippincott Williams & Wilkins; 2010.
42 Walsh BL, Crotwell DN, Restrepo RD, (2011) Capnography/Capnometry during mechanical ventilation: 2011. Resp Care. 2011 Apr;56(4):503-9.
43 West JB, Dollery CT, Naimark A. Distribution of blood flow in isolated lung; relation to vascular and alveolar pressures. J Appl Physiol. 1964 Jul;19:713-24.
44 Whitaker DK. Time for capnography—everywhere. Anaesthesia. 2011 Jul;66(7):544-9.
45 Carius BM, et al. Battlefield Vital Sign Monitoring in Role 1 Military Treatment Facilities: A Thematic Analysis of After-Action Reviews from the Prehospital Trauma Registry. Mil Med. 2020 Nov 26: usaa515. Epub ahead of print. PMID: 33242098.
46 Cooper RJ, Schriger DL, Flaherty HL, Lin EJ, Hubbell KA. Effect of vital signs on triage decisions. Ann Emerg Med. 2002 Mar;39(3): 223-32.
47 Liu NT, Holcomb JB, Wade CE, Darrah MI, Salinas J. Evaluation of standard versus nonstandard vital signs monitors in the prehospital and emergency departments: results and lessons learned from a trauma patient care protocol. J Trauma Acute Care Surg. 2014 Sep;77(3 Suppl 2): S121-6.
48 Downey C, Chapman S, Randell R, Brown J, Jayne D. The impact of continuous versus intermittent vital signs monitoring in hospitals: A systematic review and narrative synthesis. Int J Nurs Stud. 2018 Aug;84: 19–27.
49 Leenen JPL, Leerentveld C, van Dijk JD, van Westreenen HL, Schoonhoven L, Patijn GA. Current Evidence for Continuous Vital Signs Monitoring by Wearable Wireless Devices in Hospitalized Adults: Systematic Review. J Med Internet Res. 2020;22(6): e18636. Published 2020 Jun 17.
50 DODI 6000.11. Patient Movement Items. 22 Jun 2018. Available at https://www.esd.whs.mil/Portals/54/Documents/DD/issuances/dodi/600011p.pdf?ver=2019-01-31-110326-330, accessed 13 Dec 21.
51 Sapra A, Malik A, Bhandari P. Vital Sign Assessment. [Updated 2021 May 12]. In: StatPearls [Internet]. Treasure Island (FL): StatPearls Publishing; 2021 Jan-. Available from: https://www.ncbi.nlm.nih.gov/books/NBK553213/, accessed 13 Dec 21.
52 Driscoll IR, et al. Burn Casualty Care in the Deployed Setting. Military Medicine. Volume 183, Issue supplement 2, September-October 2018, Pages 161–167.
53 Driscoll, IR. Burn Care (CPG ID: 12). Joint Trauma System Clinical Practice Guideline. 11 May 2016.
54 Cancio, LC. Burn Wound Management in Prolonged Field Care (CPG ID: 57). Joint Trauma System Clinical Practice Guideline. 13 Jan 2017.
55 Fisher AD. Damage Control Resuscitation (DCR) in Prolonged Field Care (PFC) (CPG ID:73). Joint Trauma System Clinical Practice Guideline. 1 Oct 2018.
56 Ostberg D. Nursing Intervention in Prolonged Field Care (CPG ID: 70). Joint Trauma System Clinical Practice Guideline. 22 Jul 2018.
57 Cubano, M. A., In Butler, F. K., Borden Institute. (2018). Emergency war surgery.
58 Fisher AD. Damage Control Resuscitation (DCR) in Prolonged Field Care (PFC) (CPG ID:73). Joint Trauma System Clinical Practice Guideline. 1 Oct 2018, page 10.
59 Driscoll, IR. Burn Care (CPG ID: 12). Joint Trauma System Clinical Practice Guideline. 11 May 2016, pp 4,5.
60 Lipman GS, Gaudio FG, Eifling KP, Ellis MA, Otten EM, Grissom CK. Wilderness Medical Society Clinical Practice Guidelines for the Prevention and Treatment of Heat Illness: 2019 Update. Wilderness Environ Med. 2019 Dec;30(4S): S33-S46.
61 McIntosh SE, Freer L, Grissom CK, Auerbach PS, Rodway GW, Cochran A, Giesbrecht GG, McDevitt M, Imray CH, Johnson EL, Pandey P, Dow J, Hackett PH. Wilderness Medical Society Clinical Practice Guidelines for the Prevention and Treatment of Frostbite: 2019 Update. Wilderness Environ Med. 2019 Dec;30(4S): S19-S32.
62 Benjamin JM. Global Snake Envenomation Management (CPG ID: 81). Joint Trauma System Clinical Practice Guideline. 30 Jun 2020.
63 Rapp J. Sepsis Management in Prolonged Field Care (CPG ID:83). Joint Trauma System Clinical Practice Guideline. 28 Oct 2020.
64 Ennis JL, Chung KK, Renz EM, et al. Joint Theater Trauma System implementation of burn resuscitation guidelines improves outcomes in severely burned military casualties. J Trauma2008; 64(2 Suppl): S146–51; discussion S151–42.
65 Fisher AD. Damage Control Resuscitation (DCR) in Prolonged Field Care (PFC) (CPG ID:73). Joint Trauma System Clinical Practice Guideline. 1 Oct 2018, page 10.
66 Rapp J. Sepsis Management in Prolonged Field Care (CPG ID:83). Joint Trauma System Clinical Practice Guideline. 28 Oct 2020, page 9.
67 Dünser MW, Takala J, Brunauer A, Bakker J. Re-thinking resuscitation: leaving blood pressure cosmetics behind and moving forward to permissive hypotension and a tissue perfusion-based approach. Crit Care. 2013;17(5):326. Published 2013 Oct 8.
68 Kowalski A, Brandis D. Shock Resuscitation. [Updated 2021 May 30]. In: StatPearls [Internet]. Treasure Island (FL): StatPearls Publishing; 2021 Jan-. Available from: https://www.ncbi.nlm.nih.gov/books/NBK534830/, accessed 14 Dec 21.
69 Haider MZ, Annamaraju P. Bladder Catheterization. [Updated 2021 Aug 22]. In: StatPearls [Internet]. Treasure Island (FL): StatPearls Publishing; 2021 Jan-. Available from: https://www.ncbi.nlm.nih.gov/books/NBK560748/, accessed 14 Dec 21.
70 Haider MZ, Annamaraju P. Bladder Catheterization. [Updated 2021 Aug 22]. In: StatPearls [Internet]. Treasure Island (FL): StatPearls Publishing; 2021 Jan-. Available from: https://www.ncbi.nlm.nih.gov/books/NBK560748/, accessed 14 Dec 21.
71 Brekke IJ, Puntervoll LH, Pedersen PB, Kellett J, Brabrand M. The value of vital sign trends in predicting and monitoring clinical deterioration: A systematic review. PLoS One. 2019;14(1): e0210875. Published 2019 Jan 15.
72 Leuvan CH, Mitchell I. Missed opportunities? An observational study of vital sign measurements. Crit Care Resusc. 2008;10(2): 111–15. Epub 2008/06/05.
73 Churpek MM, Adhikari R, Edelson DP. The value of vital sign trends for detecting clinical deterioration on the wards. Resuscitation. 2016; 102:1–5. Epub 2016/02/24.
74 Mather C, O’Kelly S. The palpation of pulses. Anaesthesia 1996; 51(2): 189–91 B-NR
75 Aminiahidashti H, Shafiee S, Zamani Kiasari A, Sazgar M. Applications of End-Tidal Carbon Dioxide (ETCO2) Monitoring in Emergency Department; a Narrative Review. Emerg (Tehran). 2018;6(1): e5 B-NR
76 Backlund BH, Bonnett CJ, Faragher JP, Haukoos JS, Kendall JL. Pilot study to determine the feasibility of training Army National Guard medics to perform focused cardiac ultrasonography. Prehosp Emerg Care. 2010;14(1): 118-123 C-LD
77 Bakker J, Nijsten MW, Jansen TC. Clinical use of lactate monitoring in critically ill patients. Ann Intensive Care. 2013 May 10;3(1):12 B-R
78 Bhende MS, LaCovey DC. End-tidal carbon dioxide monitoring in the prehospital setting. Prehosp Emerg Care. 2001 Apr-Jun;5(2): 208-13 C-LD
79 Botker MT, Jacobson L, Rudolph SS, Knudsen L. The role of point of care ultrasound in prehospital critical care: a systematic review. Scand J Trauma, Resus, Emerg Med. 2018; 26:51 B-R
80 Brekke IJ, Puntervoll LH, Pedersen PB, Kellett J, Brabrand M. The value of vital sign trends in predicting and monitoring clinical deterioration: A systematic review. PLoS One. 2019;14(1): e0210875 C-LD
81 Canepa CA, Harris NS. Ultrasound in austere environments. High Altitude Medicine & Biology. 2019;20(2): 103-111 C-LD
82 Carius BM, et al. Battlefield Vital Sign Monitoring in Role 1 Military Treatment Facilities: A Thematic Analysis of After-Action Reviews from the Prehospital Trauma Registry. Mil Med. 2020 Nov 26: usaa515 B-NR
83 Chi JH, et al. Prehospital Hypoxia Affects Outcome in Patients With Traumatic Brain Injury: A Prospective Multicenter Study, The Journal of Trauma: Injury, Infection, and Critical Care: November 2006 - Volume 61 - Issue 5 - p 1134-1141 B-NR
84 Churpek MM, Adhikari R, Edelson DP. The value of vital sign trends for detecting clinical deterioration on the wards. Resuscitation. 2016; 102:1–5 B-NR
85 Cooper RJ, Schriger DL, Flaherty HL, Lin EJ, Hubbell KA. Effect of vital signs on triage decisions. Ann Emerg Med. 2002 Mar;39(3): 223-32 B-NR
86 Cubano, M. A., In Butler, F. K., Borden Institute. (2018). Emergency war surgery B-NR
87 Deakin CD, Low JL. Accuracy of the advanced trauma life support guidelines for predicting systolic blood pressure using carotid, femoral, and radial pulses: observational study. BMJ. 2000;321(7262): 673-674 B-NR
88 DeMeulenaere, Susan. (2007). Pulse Oximetry: Uses and Limitations. The Journal for Nurse Practitioners. 3. 312-317 C-LD
89 Donald MJ, Paterson B. End tidal carbon dioxide monitoring in prehospital and retrieval medicine: a review. Emerg Med J. 2006;23(9): 728-730 C-LD
90 Downey C, Chapman S, Randell R, Brown J, Jayne D. The impact of continuous versus intermittent vital signs monitoring in hospitals: A systematic review and narrative synthesis. Int J Nurs Stud. 2018 Aug;84: 19–27 B-NR
91 Driscoll IR, et al. Burn Casualty Care in the Deployed Setting. Military Medicine. Volume 183, Issue supplement 2, September-October 2018, Pages 161–167 C-EO
92 Dünser MW, Takala J, Brunauer A, Bakker J. Re-thinking resuscitation: leaving blood pressure cosmetics behind and moving forward to permissive hypotension and a tissue perfusion-based approach. Crit Care. 2013;17(5):326. Published 2013 Oct 8 C-LD
93 Eberle B, Dick W, Schneider T, Wisser G, Doetsch S, Tzanova I. Checking the carotid pulse check: diagnostic accuracy of first responders in patients with and without a pulse. Resuscitation 1996; 33(2): 107–16 B-NR
94 Ennis JL, Chung KK, Renz EM, et al. Joint Theater Trauma System implementation of burn resuscitation guidelines improves outcomes in severely burned military casualties. J Trauma2008; 64(2 Suppl): S146–51; discussion S151–42 B-NR
95 Fisher AD, Miles EA, Cap AP, StrandenesG, Kane SF. Tactical Damage Control Resuscitation. Military Medicine. Volume 180, Issue 8, August 2015: 869–875 C-LD
96 Flenady T, Dwyer T, Applegarth J. Accurate respiratory rates count: So should you! Australas Emerg Nurs J. 2017 Feb;20(1):45-47 C-LD
97 Gharahbaghian L, Anderson KL, Lobo V, Huang RW, Poffenberger CM, Nguyen PD. Point-of-care ultrasound in austere environments: A complete review of its utilization, pitfalls, and technique for common applications in austere settings. Emerg Med Clin N Am. 2017;35: 409–441 B-NR
98 Goldberg JS, Rawle PR, Zehnder JL, Sladen RN. Colorimetric end-tidal carbon dioxide monitoring for tracheal intubation. Anesth Analg. 1990 Feb;70(2): 191-4 B-NR
99 Grmec S. Comparison of three different methods to confirm tracheal tube placement in emergency intubation. Intensive Care Med 2002; 28: 701 B-NR
100 Guyette F, Suffoletto B, Castillo J-L, et al. Prehospital serum lactate as a predictor of outcomes in trauma patients: a retrospective observational study. J Trauma. 2011;70: 782–786 B-NR
101 Hayden SR, Sciammarella J, Viccellio P, Thode H, Delagi R. Colorimetric end-tidal CO2 detector for verification of endotracheal tube placement in out-of-hospital cardiac arrest. Acad Emerg Med. 1995 Jun;2(6): 499-502 B-NR
102 Hogg K, Teece S. Colourimetric CO2 detector compared with capnography for confirming ET tube placement. Emergency Medicine Journal. 2003;20: 265-266 C-LD
103 Hooper TJ, De Pasquale M, Strandenes G, Sunde G, Ward KR. Challenges and Possibilities in Forward Resuscitation. Shock. May 2014, Volume 41: 13-20 B-NR
104 Jeong JH, Park YJ, Kim DH, et al. The new trauma score (NTS): a modification of the revised trauma score for better trauma mortality prediction. BMC Surg. 2017;17(1): 77 B-NR
105 Leenen JPL, Leerentveld C, van Dijk JD, van Westreenen HL, Schoonhoven L, Patijn GA. Current Evidence for Continuous Vital Signs Monitoring by Wearable Wireless Devices in Hospitalized Adults: Systematic Review. J Med Internet Res. 2020;22(6): e18636 B-NR
106 Leuvan CH, Mitchell I. Missed opportunities? An observational study of vital sign measurements. Crit Care Resusc. 2008;10(2): 111–15 B-NR
107 Lewis CT, Naumann DN, Midwinter MJ, et al. Utility of pre-hospital lactate measurement for trauma patients: a systematic review. Emergency Medicine Journal 2016;33: e14 B-NR
108 Lipman GS, Gaudio FG, Eifling KP, Ellis MA, Otten EM, Grissom CK. Wilderness Medical Society Clinical Practice Guidelines for the Prevention and Treatment of Heat Illness: 2019 Update. Wilderness Environ Med. 2019 Dec;30(4S): S33-S46 C-EO
109 Liu NT, Holcomb JB, Wade CE, Darrah MI, Salinas J. Evaluation of standard versus nonstandard vital signs monitors in the prehospital and emergency departments: results and lessons learned from a trauma patient care protocol. J Trauma Acute Care Surg. 2014 Sep;77(3 Suppl 2): S121-6 B-NR
110 Lundin M, Wiksten J-P, Peräkylä T, et al. Distal pulse palpation: is it reliable? World J Surg 1999; 23(3): 252–5 B-NR
111 Mark N, Lyubin A, Gerasi R, Ofir D, Tsur AM, Chen J, Bader T. Comparison of the Effects of Motion and Environment Conditions on Accuracy of Handheld and Finger-Based Pulse Oximeters. Mil Med. 2021 Jan 25;186(Suppl 1): 465-472 C-LD
112 McIntosh SE, Freer L, Grissom CK, Auerbach PS, Rodway GW, Cochran A, Giesbrecht GG, McDevitt M, Imray CH, Johnson EL, Pandey P, Dow J, Hackett PH. Wilderness Medical Society Clinical Practice Guidelines for the Prevention and Treatment of Frostbite: 2019 Update. Wilderness Environ Med. 2019 Dec;30(4S): S19-S32 C-EO
113 McManus J, Yershov AL, Ludwig D, et al: Radial pulse character relationships to systolic blood pressure and trauma outcomes. Prehosp Emerg Care 2005; 9(4): 423–8 B-NR
114 Mehta M. Performing a respiratory assessment. Nursing Critical Care. May 2010; vol 5, issue 3: 45-47
115 Nagler J, Krauss B. Capnography: a valuable tool for airway management. Emerg Med Clin North Am. 2008 Nov;26(4): 881-97, vii B-NR
116 Nakatani K, Yukioka H, Fujimori M, Maeda C, Noguchi H, Ishihara S, Yamanaka I, Tase C. Utility of colorimetric end-tidal carbon dioxide detector for monitoring during prehospital cardiopulmonary resuscitation. Am J Emerg Med. 1999 Mar;17(2): 203-6 B-NR
117 Naylor JF, Fisher AD, April MD, Schauer SG. An analysis of radial pulse strength to recorded blood pressure in the Department of Defense Trauma Registry. Military Medicine, Volume 185, Issue 11-12, November-December 2020: e1903–e1907 B-NR
118 Parkes R. Rate of respiration: the forgotten vital sign. Emerg Nurse. 2011 May;19(2): 12-7 B-NR
119 Prekker ME, Feemster LC, Hough CL, et al. The epidemiology and outcome of prehospital respiratory distress. Acad Emerg Med. 2014;21(5): 543-550 B-NR
120 Qi J, Ding L, Bao L, Chen D. The ratio of shock index to pulse oxygen saturation predicting mortality of emergency trauma patients. PLoS One. 2020;15(7): e0236094 B-NR
121 Renard A, Martinet C, Cungi PJ, Combes E, Gasperini G, Cazes N, Carfantan C, Faivre A, Travers S, Kelway C, Benner P. Is E-FAST possible and useful on the battlefield? A feasibility study during medical courses in hostile environment (MEDICHOS): preliminary results. J R Army Med Corps 2019;165: 338–341 C-LD
122 Ross EM, Matteucci MJ, Shepherd M, Barker M, Orr L. Measuring arterial oxygenation in a high-altitude field environment: comparing portable pulse oximetry with blood gas analysis. Wilderness Environ Med. 2013 Jun;24(2): 112-7 B-NR
123 Sheak KR, Wiebe DJ, Leary M, Babaeizadeh S, Yuen TC, Zive D, Owens PC, Edelson DP, Daya MR, Idris AH, Abella BS. Quantitative relationship between end-tidal carbon dioxide and CPR quality during both in-hospital and out-of-hospital cardiac arrest. Resuscitation. 2015 Apr;89: 149-54 B-NR
124 Yan EB, Satgunaseelan L, Paul E, et al. Post-traumatic hypoxia is associated with prolonged cerebral cytokine production, higher serum biomarker levels, and poor outcome in patients with severe traumatic brain injury. J Neurotrauma. 2014;31(7):618-629 B-NR